What does a smoke alarm do?

A smoke alarm senses smoke in the home and alerts the people with a loud beep of a fire so they can get out of the house safely.

What brand should I buy?

Look for the SSL label on the package when you buy a smoke alarm to make sure the brand you buy meets the Australian Standards.

[Show SSL label and Australian Standards]

What types are there?

# A hard-wired alarm needs to be installed by an electrician, but gives your home the most protection.  There are also smoke alarms which come with batteries and aren't hard-wired.

# You can buy either ionisation or photoelectric.  Both types will work the same.

# There are also smoke alarms with an emergency light and smoke alarms for people with poor hearing.

How much do they cost?

$10 - $20 will buy a good smoke alarm.

Where can I buy them?

- Department Stores

- Hardware Stores

- Electrical Retailers

- Fire Protection Companies

How many smoke alarms should I buy?  Where should I put them?

You should have at least one alarm for each floor in your house.  In addition, it is recommended that you have one smoke alarm in each bedroom.  See picture below for places to put your smoke alarms:

[Picture of house]

How often should I change the battery?

The battery should be changedonce a year or sooner.  You can test to see if your smoke alarm is working by pressing the test button.  If no sound is made when you press the test button, change the battery and press the button again to make sure it works..

[Picture of calendar]  (?)

Why does my smoke alarm beep every minute?

If your alarm is sounding short beeps every minute or so, it means the battery needs to be changed.

[Picture of battery being changed]

What should I do if my smoke alarm goes off every time I cook?

If your alarm is in the kitchen, make sure it is a photoelectric-type detector, or move it away from where you cook.

How else do I need to take care of my smoke alarm?

Vacuum the smoke alarm to remove the dust.

[Picture of someone vacuuming a smoke alarm]

Can I paint my smoke alarm?

No, smoke alarms may not work correctly if they are painted.